{"text_format":"3","workbook":"xls","n_sheets":12,"sheets":["表-05 分部分项工程量清单与计价表","表-06 措施项目清单与计价表(一)","表-07 措施项目清单与计价表(二)","表-08 其他项目清单与计价汇总表","表-08-1 暂列金额表","表-08-2 材料(工程设备)暂估单价表","表-08-3 专业工程暂估价表","表-08-4 计日工表","表-08-5 总承包服务费计价表","表-08-6 备品备件表","表-08-7 不需要安装的材料（工程设备）表","表-09 规费、税金项目清单与计价表"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"表-05 分部分项工程量清单与计价表","index":0,"n_rows":34,"n_cols":9,"rows_kept":34,"merged":[[0,0,2,0],[0,1,2,1],[0,2,2,2],[0,3,2,3],[0,4,2,4],[0,5,2,5],[0,6,0,8],[1,6,2,6],[1,7,2,7],[13,0,13,6],[14,0,16,0],[14,1,16,1],[14,2,16,2],[14,3,16,3],[14,4,16,4],[14,5,16,5],[14,6,14,8],[15,6,16,6],[15,7,16,7],[32,0,32,6],[33,0,33,6]],"flags":["formulas_cached_only"]}
["序号","项目编码","项目名称","项目特征","计量单位","工程量","金额（元）","",""]
["","","","","","","综合单价","合价","其中"]
["","","","","","","","","暂估价"]
[1,"MH040506001","自动气象站","1.名称:自动气象观测站\r\n2.配置要求:风向、风速、温湿度、气压、雪深、雨量等测量\r\n3.其他:含避雷针、接地、障碍灯、10m自动气象站风传感器支撑杆及基础等设计图纸全部工序，显示终端置于气象观测室内","套",1]
[2,"MH040515001","百叶箱及支架","1.名称:百叶箱及支架  大号\r\n2.规格、型号:含最高温度计、最低温度计、温度表支架、干球温度表、湿球温度表、毛发湿度表、酒精温度表","套",1]
[3,"MH040516001","雨量筒及支架","1.名称:雨量筒\r\n2.规格、型号:符合图纸及规范要求\r\n3.其他:含基础","套",1]
[4,"MH040519001","标高桩","1.名称:标高筒\r\n2.材质:符合图纸及规范要求","个",1]
[5,"MH040518001","积雪尺/量雪尺","1.名称:固定积雪尺","个",2]
[6,"MH040507001","风向风速仪","1.名称:风向风速仪\r\n2.配置要求:含风向风速仪显示板、支撑杆、拉线、拉杆、避雷针、避雷引下线、地锚、风杆基础等图纸全部工序","套",1]
[7,"MH040523001","气压计","1.名称:气象双振筒气压仪\r\n2.规格、型号:符合图纸及规范要求","个",3]
[8,"MH020701001","接地极","1.名称:接地体\r\n2.材质:铜包钢Φ36\r\n3.规格:L=2500","根",15]
[9,"MH020702001","接地母线","1.名称:接地线\r\n2.材质:紫铜带\r\n3.规格:40*4","m",100]
[10,"MH040222001","通信电缆","1.名称:信号电缆\r\n2.规格、型号:HYAT53-10*2*0.7","m",1200]
["本页小计","","","","","",""]
["序号","项目编码","项目名称","项目特征","计量单位","工程量","金额（元）","",""]
["","","","","","","综合单价","合价","其中"]
["","","","","","","","","暂估价"]
[11,"MH040111001","传输设备","1.名称:长线传输器\r\n2.规格、型号:符合图纸及规范要求","套",1]
[12,"MH020501001","电力电缆","1.名称:供电电缆\r\n2.规格、型号:VV22-3*6","m",350]
[13,"MH040110001","UPS不间断电源","1.名称:UPS\r\n2.容量(A.h):2KVA","套",1]
[14,"MH020714001","避雷器","1.名称:信号SPD\r\n2.配置要求:符合图纸及规范要求","套",3]
[15,"MH020714002","避雷器","1.名称:电源SPD\r\n2.配置要求:符合图纸及规范要求","套",3]
[16,"MH030616001","信号分线盘","1.名称:信号分线盘\r\n2.设备基本参数/指标或设备配置要求:符合图纸及规范要求","台",1]
[17,"MH020508001","电缆保护管","1.名称:热镀锌钢管\r\n2.规格:SC50","m",15]
[18,"MH010310001","碎石","1.场内小路铺设，宽0.3m\r\n2.满足图纸及规范要求","m2",9.6]
[19,"MH010566001","金属栏杆","1.材质:钢栅栏\r\n2.规格:高1.2m\r\n3.油漆品种、工艺要求:白色油漆、入地部分涂防腐油","m",64]
[20,"MH020515001","电缆标石","1.名称:电缆标石\r\n2.材质:符合图纸及规\r\n范要求","块",10]
[21,"MH040220001","铺砂、盖保护板(砖)","1.种类:符合图纸要求\r\n2.电缆/光缆根数:符合图纸及规范要求","m",250]
[22,"MH010103001","挖沟槽土方","1.土壤类别:一、二类土\r\n2.挖土深度:符合图纸及规范要求，此项要求含回填","m3",697.5]
[]
[]
[]
["本页小计","","","","","",""]
["合    计","","","","","",""]

{"sheet":"表-06 措施项目清单与计价表(一)","index":1,"n_rows":35,"n_cols":6,"rows_kept":35,"merged":[[34,0,34,3]],"flags":["formulas_cached_only"]}
["序号","项目名称","计算基础","费率(%)","金额(元)","备注"]
[1,"安全文明施工","分部分项人工费","3"]
[2,"夜间施工增加"]
[3,"非夜间施工增加"]
[4,"二次搬运","分部分项人工费","0.01"]
[5,"冬雨季施工增加","分部分项人工费","0.5"]
[6,"已完工程及设备保护","分部分项人工费","0.8"]
[7,"工程定位复测","分部分项人工费","0"]
[8,"特殊地区施工增加","分部分项人工费","0"]
[9,"大型机械设备进出场及安拆"]
[10,"施工排水"]
[11,"施工降水"]
[12,"地上、地下设施、建筑物的临时保护设施"]
[13,"隧道内临时设施"]
[14,"地下管线交叉处理"]
[15,"施工监测、监控"]
[16,"飞行校验配合费"]
[17,"不停航施工增加费","分部分项合计","3"]
[18,"高层施工增加"]
[19,"焊接工艺评定"]
[20,"胎(模)具制作、安装、拆除"]
[21,"生产与安装同时进行施工增加"]
[22,"在有害身体健康环境中施工增加"]
[23,"工程系统检测、检验"]
[24,"脚手架(安装专业)"]
{"$rows_empty":9}
["合    计","","",""]

{"sheet":"表-07 措施项目清单与计价表(二)","index":2,"n_rows":37,"n_cols":9,"rows_kept":37,"merged":[[0,0,2,0],[0,1,2,1],[0,2,2,2],[0,3,2,3],[0,4,2,4],[0,5,2,5],[0,6,0,8],[1,6,2,6],[1,7,2,7],[35,0,35,6],[36,0,36,6]],"flags":["formulas_cached_only"]}
["序号","项目编码","项目名称","项目特征","计量\r\n单位","工程量","金额（元）","",""]
["","","","","","","综合单价","合价","其中"]
["","","","","","","","","暂估价"]
[1,null,"脚手架",null,"项",1]
[2,"MH060201001","脚手架",null,"m2",1]
[3,"MH060202001","井字架",null,"座",1]
[4,null,"混凝土模板及支架",null,"项",1]
[5,"MH060203002","模板",null,"m2",1]
[6,"MH060204002","水上桩基础支架、平台",null,"m2",1]
[7,"MH060205002","桥涵支架",null,"m3",1]
[8,null,"围堰",null,"项",1]
[9,"MH060206001","围堰",null,"m",1]
[10,"MH060207001","筑岛",null,"m3",1]
[11,null,"便道、便桥",null,"项",1]
[12,"MH060208001","便道",null,"m2",1]
[13,"MH060209001","便桥",null,"座",1]
{"$rows_empty":19}
["本页小计","","","","","",""]
["合    计","","","","","",""]

{"sheet":"表-08 其他项目清单与计价汇总表","index":3,"n_rows":26,"n_cols":4,"rows_kept":26,"merged":[[25,0,25,1]],"flags":["formulas_cached_only"]}
["序号","项目名称","金额（元）","备注"]
["1","暂列金额",45000,"明细详见表-08-1"]
["2","暂估价"]
["2.1","材料（工程设备）暂估价",null,"明细详见表-08-2"]
["2.2","专业工程暂估价",null,"明细详见表-08-3"]
["3","计日工",null,"明细详见表-08-4"]
["4","总承包服务费",null,"明细详见表-08-5"]
["5","备品备件",null,"明细详见表-08-6"]
["6","不需要安装的材料（工程设备）",null,"明细详见表-08-7"]
{"$rows_empty":16}
["合    计","",45000,"—"]

{"sheet":"表-08-1 暂列金额表","index":4,"n_rows":38,"n_cols":5,"rows_kept":38,"merged":[[37,0,37,2]],"flags":["formulas_cached_only"]}
["序号","项目名称","计量单位","暂定金额（元）","备注"]
["1","暂列金额","项",45000]
{"$rows_empty":35}
["合    计","","",45000,"—"]

{"sheet":"表-08-2 材料(工程设备)暂估单价表","index":5,"n_rows":38,"n_cols":5,"rows_kept":38,"merged":[[0,0,1,0],[0,1,1,1],[0,2,1,2],[0,3,1,3],[0,4,1,4],[37,0,37,2]],"flags":["formulas_cached_only"]}
["序号","名称、规格、型号","计量单位","单价(元)","备注"]
["","","","",""]
{"$rows_empty":35}
["合计","","","-"]

{"sheet":"表-08-3 专业工程暂估价表","index":6,"n_rows":38,"n_cols":5,"rows_kept":38,"merged":[[37,0,37,2]],"flags":["formulas_cached_only"]}
["序号","工程名称","工程内容","暂估金额（元）","备注"]
{"$rows_empty":36}
["合    计","","",null,"—"]

{"sheet":"表-08-4 计日工表","index":7,"n_rows":37,"n_cols":6,"rows_kept":37,"merged":[[3,0,3,4],[6,0,6,4],[9,0,9,4],[36,0,36,4]],"flags":["formulas_cached_only"]}
["编号","项目名称","单位","暂定数量","综合单价(元)","合价（元）"]
["1","人工"]
[]
["人工小计","","","",""]
["2","材料"]
[]
["材料小计","","","",""]
["3","机械"]
[]
["机械小计","","","",""]
{"$rows_empty":26}
["总    计","","","",""]

{"sheet":"表-08-5 总承包服务费计价表","index":8,"n_rows":37,"n_cols":6,"rows_kept":37,"merged":[[36,0,36,4]],"flags":["formulas_cached_only"]}
["序号","项目名称","项目价值(元)","服务内容","费率(%)","金额(元)"]
{"$rows_empty":35}
["合    计","","","",""]

{"sheet":"表-08-6 备品备件表","index":9,"n_rows":33,"n_cols":8,"rows_kept":33,"merged":[[32,0,32,5]],"flags":["formulas_cached_only"]}
["序号","名称","规格、型号","单位","数量","单价（元）","合价（元）","备注"]
{"$rows_empty":31}
["合  计","","","","",""]

{"sheet":"表-08-7 不需要安装的材料（工程设备）表","index":10,"n_rows":33,"n_cols":8,"rows_kept":33,"merged":[[32,0,32,5]],"flags":["formulas_cached_only"]}
["序号","名称","规格、型号","单位","数量","单价（元）","合价（元）","备注"]
{"$rows_empty":31}
["合  计","","","","",""]

{"sheet":"表-09 规费、税金项目清单与计价表","index":11,"n_rows":21,"n_cols":6,"rows_kept":21,"merged":[[20,0,20,3]],"flags":["formulas_cached_only"]}
["备注","项目名称","计算基础","计算基数","费率(%)","金额（元）"]
["1","规费","社会保障费+住房公积金+环境保护税+水利建设基金"]
["1.1","社会保障费","养老失业保险费+基本医疗保险费+工伤保险费+生育保险费"]
["(1)","养老失业保险费","分部分项人工费+组织措施项目人工费+技术措施项目人工费"]
["(2)","基本医疗保险费","分部分项人工费+组织措施项目人工费+技术措施项目人工费"]
["(3)","工伤保险费","分部分项人工费+组织措施项目人工费+技术措施项目人工费"]
["(4)","生育保险费","分部分项人工费+组织措施项目人工费+技术措施项目人工费"]
["1.2","住房公积金","分部分项人工费+组织措施项目人工费+技术措施项目人工费"]
["1.3","环境保护税"]
["2","税金","分部分项工程费合计+措施项目费+其他项目费+规费"]
{"$rows_empty":10}
["合计","","",""]